## MSA KOSONG
GAGE REPEATABILITY & REPRODUCIBILITY STUDY
( Average - Range Method )
QUALITY CONTROL SECTION
DATE | [8 empty] | APPROVED |  | CONFIRMED |  | PREVERED
PART NAME
GAGE NAME |  |  | Caliper
GAGE NO. REG |  |  | B17092619
RESOLUSI GAGE |  |  | 0-150 / 0.01 mm
PROSES NAME |  |  | Proses Check ID (Iner Diameter)
LSL : | 6.5 | USL : | 7.5 | Tolerance : |  | 0.5 | mm
Appraiser | Trial# | SAMPLE PART | [9 empty] | AVG | AVERAGE
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
| 1 | [11 empty] | XA =
2
3
1 | Range | [10 empty] | RA =
| 1 | [11 empty] | XB =
2
3
2 | Range | [10 empty] | RB =
| 1 | [11 empty] | XC =
2
3
3 | Range | [10 empty] | RC =
AVERAGE READING ( XP) | [11 empty] | RP =
X DIFF = XMAX - XMIN | [11 empty] | X DIFF =
R = ( RA + RB + RC ) / 3 | [11 empty] | R =
R × D4 = UCLR(Upper Control Limit) |  | SAMPLE PART 4: (D4 = 3.27 for 2 trials and 2.58 for 3 trials); SAMPLE PART 9: D4 = | UCLR
Appraiser |  | SAMPLE PART 2: 3; SAMPLE PART 3: persons; SAMPLE PART 5: OPERATOR; SAMPLE PART 7: K2; SAMPLE PART 9: TRIALS | K1 | D4
Trial # |  | SAMPLE PART 2: 0; SAMPLE PART 3: times ( r ); SAMPLE PART 5: 2; SAMPLE PART 7: 0.7071; SAMPLE PART 9: 2 | 0.8862 | 3.27
Sample # |  | SAMPLE PART 2: 0; SAMPLE PART 3: pieces ( n ); SAMPLE PART 5: 3; SAMPLE PART 7: 0.5231; SAMPLE PART 9: 3 | 0.5908 | 2.58
PARTS |  | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
K3 |  | 0.7071 | 0.5231 | 0.4467 | 0.403 | 0.3742 | 0.3534 | 0.3375 | 0.3249 | 0.3146
UCLR represents the limit for individual Range, those ranges that are beyond this limit, identify the cause and correct, repeat those reading using the same operator and parts as originally used, Discard those reading and re-average and re-compile ranges and UCL from the remaining reading.
ANALISYS | REPEATABILITY (EV) | 3: REPRODUCIBILITY (AV); 6: R & R; 9: PART VAREATION |  | TOTAL VAREATION (TV)
| EV=RxK1 | 3: AV=√(XdiffxK2)2-(EV2/nxr); 6: R&R=√EV2+AV2; 9: PV=RpxK3 |  | TV=√R&R2+PV2
| EV= | 3: AV=; 6: R&R=; 9: PV= |  | TV=
% VARIATION | %EV=100*(EV/TV) | 3: %AV=100*(AV/TV); 6: %R&R=100*(R&R/TV); 9: %PV=100*(PV/TV) |  | NDC=1.41*(PV/R&R)
| %EV= | 3: %AV=; 6: %R&R=; 9: %PV= |  | NDC= | #VALUE!
% TOLERANCE | %EV=100(EV/(UCL-LCL)/6) | 3: %AV=100(AV/(UCL-LCL)/6); 6: %R&R=100(R&R/(UCL-LCL)/6)
| %EV= | 3: %AV=; 6: %R&R=
[Instruksi dari orang yang approved/menyetujui] |  | 8: [Referensi]
[8 empty] | Error |  | Interpretasi
[8 empty] | Dibawah 10% |  | Measurement system diterima
[8 empty] | Antara 10 - 30% |  | Kemungkinan dapat diterima, tetapi penanggung jawab quality (Manager) harus mengetahui alasannya.
[8 empty] | Lebih dari 30% |  | Perlu perbaikan, buat usaha yang dpt mengidentifikasi masalah, sehingga dapat diambil tindakan perbaikan.
*Arahan untuk tindakan*
(1) Reproducibility (AV) > Repeatability (EV)
1. Appraiser sudahkah ditraining dalam handling dan pembacaan measuring equipment
2. Skala pada measuring equipment tidak akurat
(2) Reproducibility (AV) < Repeatability (EV)
1. Measuring equipment perlu diinspeksi atau direpair.
2. Metode set up / position perlu diperbaiki.
TPM-F-QC-003 Rev.00

## MSA ISI 1
GAGE REPEATABILITY & REPRODUCIBILITY STUDY
( Average - Range Method )
QUALITY CONTROL SECTION
DATE |  |  | 2023-12-19 | [5 empty] | APPROVED |  | CONFIRMED |  | PREVERED
PART NAME |  |  | Hose Reserve Tank
GAGE NAME |  |  | Caliper
GAGE NO. REG |  |  | B17092619
RESOLUSI GAGE |  |  | 0-150 / 0.01 mm
PROSES NAME |  |  | Proses Check ID (Iner Diameter)
LSL : | 6.5 | USL : | 7.5 | Tolerance : |  | 0.5 | mm
Appraiser | Trial# | SAMPLE PART | [9 empty] | AVG | AVERAGE
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Kiki | 1 | 7.1 | 7.1 | 7.1 | 7.1 | 7.1 | 7.07 | 7.1 | 7.1 | 7.08 | 7.1 | 7.095 | XA =
| 2 | 7.1 | 7.1 | 7.1 | 7.1 | 7.07 | 7.08 | 7.1 | 7.1 | 7.08 | 7.1 | 7.093 | 7.092
| 3 | 7.1 | 7.08 | 7.1 | 7.09 | 7.08 | 7.08 | 7.08 | 7.1 | 7.08 | 7.09 | 7.088
1 | Range | 0 | 0.02 | 0 | 0.01 | 0.03 | 0.01 | 0.02 | 0 | 0 | 0.01 | RA = | 0.01
Arjun | 1 | 7.1 | 7.08 | 7.09 | 7.08 | 7.1 | 7.08 | 7.09 | 7.1 | 7.08 | 7.1 | 7.09 | XB =
| 2 | 7.1 | 7.1 | 7.1 | 7.09 | 7.08 | 7.08 | 7.09 | 7.09 | 7.08 | 7.1 | 7.091 | 7.0923
| 3 | 7.1 | 7.1 | 7.1 | 7.09 | 7.1 | 7.1 | 7.08 | 7.1 | 7.09 | 7.1 | 7.096
2 | Range | 0 | 0.02 | 0.01 | 0.01 | 0.02 | 0.02 | 0.01 | 0.01 | 0.01 | 0 | RB = | 0.011
M. Hujani | 1 | 7.1 | 7.08 | 7.09 | 7.1 | 7.1 | 7.09 | 7.09 | 7.1 | 7.1 | 7.1 | 7.095 | XC =
| 2 | 7.1 | 7.1 | 7.1 | 7.09 | 7.1 | 7.08 | 7.09 | 7.1 | 7.1 | 7.1 | 7.096 | 7.095
| 3 | 7.1 | 7.1 | 7.09 | 7.1 | 7.1 | 7.09 | 7.09 | 7.09 | 7.08 | 7.1 | 7.094
3 | Range | 0 | 0.02 | 0.01 | 0.01 | 0 | 0.01 | 0 | 0.01 | 0.02 | 0 | RC = | 0.008
AVERAGE READING ( XP) |  | 7.1 | 7.0933 | 7.0967 | 7.0933 | 7.0922 | 7.0833 | 7.09 | 7.0978 | 7.0856 | 7.0989 | RP = | 0.016667
X DIFF = XMAX - XMIN | [11 empty] | X DIFF = | 0.003
R = ( RA + RB + RC ) / 3 | [11 empty] | R = | 0.0096667
R × D4 = UCLR(Upper Control Limit) |  | SAMPLE PART 4: (D4 = 3.27 for 2 trials and 2.58 for 3 trials); SAMPLE PART 9: D4 =; SAMPLE PART 10: 2.58 | UCLR | 0.02494
Appraiser |  | SAMPLE PART 2: 3; SAMPLE PART 3: persons; SAMPLE PART 5: OPERATOR; SAMPLE PART 7: K2; SAMPLE PART 9: TRIALS | K1 | D4
Trial # |  | SAMPLE PART 2: 3; SAMPLE PART 3: times ( r ); SAMPLE PART 5: 2; SAMPLE PART 7: 0.7071; SAMPLE PART 9: 2 | 0.8862 | 3.27
Sample # |  | SAMPLE PART 2: 10; SAMPLE PART 3: pieces ( n ); SAMPLE PART 5: 3; SAMPLE PART 7: 0.5231; SAMPLE PART 9: 3 | 0.5908 | 2.58
PARTS |  | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
K3 |  | 0.7071 | 0.5231 | 0.4467 | 0.403 | 0.3742 | 0.3534 | 0.3375 | 0.3249 | 0.3146
UCLR represents the limit for individual Range, those ranges that are beyond this limit, identify the cause and correct, repeat those reading using the same operator and parts as originally used, Discard those reading and re-average and re-compile ranges and UCL from the remaining reading.
ANALISYS | REPEATABILITY (EV) | 3: REPRODUCIBILITY (AV); 6: R & R; 9: PART VAREATION |  | TOTAL VAREATION (TV)
| EV=RxK1 | 3: AV=√(XdiffxK2)2-(EV2/nxr); 6: R&R=√EV2+AV2; 9: PV=RpxK3 |  | TV=√R&R2+PV2
| EV= | 0.0057111 | AV= | 0.0011728 |  | R&R= | 0.0058302 |  | PV= | 0.0052433 |  | TV= | 0.0078412
% VARIATION | %EV=100*(EV/TV) | 3: %AV=100*(AV/TV); 6: %R&R=100*(R&R/TV); 9: %PV=100*(PV/TV) |  | NDC=1.41*(PV/R&R)
| %EV= | 72.83% | %AV= | 14.96% |  | %R&R= | 74.35% |  | %PV= | 66.87% |  | NDC= | 1.2681
% TOLERANCE | %EV=100(EV/(UCL-LCL)/6) | 3: %AV=100(AV/(UCL-LCL)/6); 6: %R&R=100(R&R/(UCL-LCL)/6)
| %EV= | 2: 6.853%; 3: %AV=; 4: 1.407%; 6: %R&R=; 7: 6.996%
[Instruksi dari orang yang approved/menyetujui] |  | 8: [Referensi]
[8 empty] | Error |  | Interpretasi
[8 empty] | Dibawah 10% |  | Measurement system diterima
[8 empty] | Antara 10 - 30% |  | Kemungkinan dapat diterima, tetapi penanggung jawab quality (Manager) harus mengetahui alasannya.
[8 empty] | Lebih dari 30% |  | Perlu perbaikan, buat usaha yang dpt mengidentifikasi masalah, sehingga dapat diambil tindakan perbaikan.
*Arahan untuk tindakan*
(1) Reproducibility (AV) > Repeatability (EV)
1. Appraiser sudahkah ditraining dalam handling dan pembacaan measuring equipment
2. Skala pada measuring equipment tidak akurat
(2) Reproducibility (AV) < Repeatability (EV)
1. Measuring equipment perlu diinspeksi atau direpair.
2. Metode set up / position perlu diperbaiki.
SSA-QC/INJ-F009 Rev.00

## MSA ISI 2
GAGE REPEATABILITY & REPRODUCIBILITY STUDY
( Average - Range Method )
QUALITY CONTROL SECTION
DATE |  |  | 2023-12-19 | [5 empty] | APPROVED |  | CONFIRMED |  | PREVERED
PART NAME |  |  | Hose Reserve Tank
GAGE NAME |  |  | Caliper
GAGE NO. REG |  |  | B17092619
RESOLUSI GAGE |  |  | 0-150 / 0.01 mm
PROSES NAME |  |  | Proses Check ID (Iner Diameter)
LSL : | 6.5 | USL : | 7.5 | Tolerance : |  | 0.5 | mm
Appraiser | Trial# | SAMPLE PART | [9 empty] | AVG | AVERAGE
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Kiki | 1 | 7.1 | 7.1 | 7.1 | 7.1 | 7.1 | 7.07 | 7.1 | 7.1 | 7.08 | 7.1 | 7.095 | XA =
| 2 | 7.1 | 7.1 | 7.1 | 7.1 | 7.09 | 7.08 | 7.1 | 7.1 | 7.08 | 7.1 | 7.095 | 7.0927
| 3 | 7.1 | 7.08 | 7.1 | 7.09 | 7.08 | 7.08 | 7.08 | 7.1 | 7.08 | 7.09 | 7.088
1 | Range | 0 | 0.02 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0 | 0 | 0.01 | RA = | 0.009
Arjun | 1 | 7.1 | 7.08 | 7.09 | 7.08 | 7.1 | 7.08 | 7.09 | 7.1 | 7.08 | 7.1 | 7.09 | XB =
| 2 | 7.1 | 7.1 | 7.09 | 7.09 | 7.08 | 7.08 | 7.09 | 7.09 | 7.08 | 7.1 | 7.09 | 7.0917
| 3 | 7.1 | 7.1 | 7.1 | 7.09 | 7.1 | 7.09 | 7.08 | 7.1 | 7.09 | 7.1 | 7.095
2 | Range | 0 | 0.02 | 0.01 | 0.01 | 0.02 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | RB = | 0.01
M. Hujani | 1 | 7.1 | 7.08 | 7.09 | 7.1 | 7.1 | 7.09 | 7.09 | 7.1 | 7.1 | 7.1 | 7.095 | XC =
| 2 | 7.1 | 7.1 | 7.1 | 7.09 | 7.1 | 7.08 | 7.09 | 7.1 | 7.1 | 7.1 | 7.096 | 7.095
| 3 | 7.1 | 7.1 | 7.09 | 7.1 | 7.1 | 7.09 | 7.09 | 7.09 | 7.08 | 7.1 | 7.094
3 | Range | 0 | 0.02 | 0.01 | 0.01 | 0 | 0.01 | 0 | 0.01 | 0.02 | 0 | RC = | 0.008
AVERAGE READING ( XP) |  | 7.1 | 7.0933 | 7.0956 | 7.0933 | 7.0944 | 7.0822 | 7.09 | 7.0978 | 7.0856 | 7.0989 | RP = | 0.017778
X DIFF = XMAX - XMIN | [11 empty] | X DIFF = | 0.0033333
R = ( RA + RB + RC ) / 3 | [11 empty] | R = | 0.009
R × D4 = UCLR(Upper Control Limit) |  | SAMPLE PART 4: (D4 = 3.27 for 2 trials and 2.58 for 3 trials); SAMPLE PART 9: D4 =; SAMPLE PART 10: 2.58 | UCLR | 0.02322
Appraiser |  | SAMPLE PART 2: 3; SAMPLE PART 3: persons; SAMPLE PART 5: OPERATOR; SAMPLE PART 7: K2; SAMPLE PART 9: TRIALS | K1 | D4
Trial # |  | SAMPLE PART 2: 3; SAMPLE PART 3: times ( r ); SAMPLE PART 5: 2; SAMPLE PART 7: 0.7071; SAMPLE PART 9: 2 | 0.8862 | 3.27
Sample # |  | SAMPLE PART 2: 10; SAMPLE PART 3: pieces ( n ); SAMPLE PART 5: 3; SAMPLE PART 7: 0.5231; SAMPLE PART 9: 3 | 0.5908 | 2.58
PARTS |  | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
K3 |  | 0.7071 | 0.5231 | 0.4467 | 0.403 | 0.3742 | 0.3534 | 0.3375 | 0.3249 | 0.3146
UCLR represents the limit for individual Range, those ranges that are beyond this limit, identify the cause and correct, repeat those reading using the same operator and parts as originally used, Discard those reading and re-average and re-compile ranges and UCL from the remaining reading.
ANALISYS | REPEATABILITY (EV) | 3: REPRODUCIBILITY (AV); 6: R & R; 9: PART VAREATION |  | TOTAL VAREATION (TV)
| EV=RxK1 | 3: AV=√(XdiffxK2)2-(EV2/nxr); 6: R&R=√EV2+AV2; 9: PV=RpxK3 |  | TV=√R&R2+PV2
| EV= | 0.0053172 | AV= | 0.0014484 |  | R&R= | 0.0055109 |  | PV= | 0.0055929 |  | TV= | 0.0078518
% VARIATION | %EV=100*(EV/TV) | 3: %AV=100*(AV/TV); 6: %R&R=100*(R&R/TV); 9: %PV=100*(PV/TV) |  | NDC=1.41*(PV/R&R)
| %EV= | 67.72% | %AV= | 18.45% |  | %R&R= | 70.19% |  | %PV= | 71.23% |  | NDC= | 1.431
% TOLERANCE | %EV=100(EV/(UCL-LCL)/6) | 3: %AV=100(AV/(UCL-LCL)/6); 6: %R&R=100(R&R/(UCL-LCL)/6)
| %EV= | 2: 6.381%; 3: %AV=; 4: 1.738%; 6: %R&R=; 7: 6.613%
[Instruksi dari orang yang approved/menyetujui] |  | 8: [Referensi]
[8 empty] | Error |  | Interpretasi
[8 empty] | Dibawah 10% |  | Measurement system diterima
[8 empty] | Antara 10 - 30% |  | Kemungkinan dapat diterima, tetapi penanggung jawab quality (Manager) harus mengetahui alasannya.
[8 empty] | Lebih dari 30% |  | Perlu perbaikan, buat usaha yang dpt mengidentifikasi masalah, sehingga dapat diambil tindakan perbaikan.
*Arahan untuk tindakan*
(1) Reproducibility (AV) > Repeatability (EV)
1. Appraiser sudahkah ditraining dalam handling dan pembacaan measuring equipment
2. Skala pada measuring equipment tidak akurat
(2) Reproducibility (AV) < Repeatability (EV)
1. Measuring equipment perlu diinspeksi atau direpair.
2. Metode set up / position perlu diperbaiki.
SSA-QC/INJ-F009 Rev.00

## MSA ISI 3
GAGE REPEATABILITY & REPRODUCIBILITY STUDY
( Average - Range Method )
QUALITY CONTROL SECTION
DATE |  |  | 2023-12-19 | [5 empty] | APPROVED |  | CONFIRMED |  | PREVERED
PART NAME |  |  | Hose Reserve Tank
GAGE NAME |  |  | Caliper
GAGE NO. REG |  |  | B17092619
RESOLUSI GAGE |  |  | 0-150 / 0.01 mm
PROSES NAME |  |  | Proses Check ID (Iner Diameter)
LSL : | 6.5 | USL : | 7.5 | Tolerance : |  | 0.5 | mm
Appraiser | Trial# | SAMPLE PART | [9 empty] | AVG | AVERAGE
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Kiki | 1 | 7.1 | 7.1 | 7.1 | 7.1 | 7.1 | 7.07 | 7.1 | 7.1 | 7.08 | 7.1 | 7.095 | XA =
| 2 | 7.1 | 7.1 | 7.1 | 7.1 | 7.09 | 7.08 | 7.1 | 7.1 | 7.08 | 7.1 | 7.095 | 7.0927
| 3 | 7.1 | 7.08 | 7.1 | 7.09 | 7.08 | 7.08 | 7.08 | 7.1 | 7.08 | 7.09 | 7.088
1 | Range | 0 | 0.02 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0 | 0 | 0.01 | RA = | 0.009
Arjun | 1 | 7.1 | 7.09 | 7.09 | 7.08 | 7.1 | 7.08 | 7.09 | 7.1 | 7.08 | 7.1 | 7.091 | XB =
| 2 | 7.09 | 7.1 | 7.09 | 7.09 | 7.08 | 7.08 | 7.09 | 7.09 | 7.08 | 7.1 | 7.089 | 7.0917
| 3 | 7.1 | 7.1 | 7.1 | 7.09 | 7.1 | 7.09 | 7.08 | 7.1 | 7.09 | 7.1 | 7.095
2 | Range | 0.01 | 0.01 | 0.01 | 0.01 | 0.02 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | RB = | 0.01
M. Hujani | 1 | 7.1 | 7.08 | 7.09 | 7.1 | 7.1 | 7.09 | 7.09 | 7.1 | 7.1 | 7.1 | 7.095 | XC =
| 2 | 7.09 | 7.1 | 7.1 | 7.09 | 7.1 | 7.08 | 7.09 | 7.1 | 7.1 | 7.1 | 7.095 | 7.0947
| 3 | 7.1 | 7.1 | 7.09 | 7.1 | 7.1 | 7.09 | 7.09 | 7.09 | 7.08 | 7.1 | 7.094
3 | Range | 0.01 | 0.02 | 0.01 | 0.01 | 0 | 0.01 | 0 | 0.01 | 0.02 | 0 | RC = | 0.009
AVERAGE READING ( XP) |  | 7.0978 | 7.0944 | 7.0956 | 7.0933 | 7.0944 | 7.0822 | 7.09 | 7.0978 | 7.0856 | 7.0989 | RP = | 0.016667
X DIFF = XMAX - XMIN | [11 empty] | X DIFF = | 0.003
R = ( RA + RB + RC ) / 3 | [11 empty] | R = | 0.0093333
R × D4 = UCLR(Upper Control Limit) |  | SAMPLE PART 4: (D4 = 3.27 for 2 trials and 2.58 for 3 trials); SAMPLE PART 9: D4 =; SAMPLE PART 10: 2.58 | UCLR | 0.02408
Appraiser |  | SAMPLE PART 2: 3; SAMPLE PART 3: persons; SAMPLE PART 5: OPERATOR; SAMPLE PART 7: K2; SAMPLE PART 9: TRIALS | K1 | D4
Trial # |  | SAMPLE PART 2: 3; SAMPLE PART 3: times ( r ); SAMPLE PART 5: 2; SAMPLE PART 7: 0.7071; SAMPLE PART 9: 2 | 0.8862 | 3.27
Sample # |  | SAMPLE PART 2: 10; SAMPLE PART 3: pieces ( n ); SAMPLE PART 5: 3; SAMPLE PART 7: 0.5231; SAMPLE PART 9: 3 | 0.5908 | 2.58
PARTS |  | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
K3 |  | 0.7071 | 0.5231 | 0.4467 | 0.403 | 0.3742 | 0.3534 | 0.3375 | 0.3249 | 0.3146
UCLR represents the limit for individual Range, those ranges that are beyond this limit, identify the cause and correct, repeat those reading using the same operator and parts as originally used, Discard those reading and re-average and re-compile ranges and UCL from the remaining reading.
ANALISYS | REPEATABILITY (EV) | 3: REPRODUCIBILITY (AV); 6: R & R; 9: PART VAREATION |  | TOTAL VAREATION (TV)
| EV=RxK1 | 3: AV=√(XdiffxK2)2-(EV2/nxr); 6: R&R=√EV2+AV2; 9: PV=RpxK3 |  | TV=√R&R2+PV2
| EV= | 0.0055141 | AV= | 0.0012038 |  | R&R= | 0.005644 |  | PV= | 0.0052433 |  | TV= | 0.0077037
% VARIATION | %EV=100*(EV/TV) | 3: %AV=100*(AV/TV); 6: %R&R=100*(R&R/TV); 9: %PV=100*(PV/TV) |  | NDC=1.41*(PV/R&R)
| %EV= | 71.58% | %AV= | 15.63% |  | %R&R= | 73.26% |  | %PV= | 68.06% |  | NDC= | 1.3099
% TOLERANCE | %EV=100(EV/(UCL-LCL)/6) | 3: %AV=100(AV/(UCL-LCL)/6); 6: %R&R=100(R&R/(UCL-LCL)/6)
| %EV= | 2: 6.617%; 3: %AV=; 4: 1.445%; 6: %R&R=; 7: 6.773%
[Instruksi dari orang yang approved/menyetujui] |  | 8: [Referensi]
[8 empty] | Error |  | Interpretasi
[8 empty] | Dibawah 10% |  | Measurement system diterima
[8 empty] | Antara 10 - 30% |  | Kemungkinan dapat diterima, tetapi penanggung jawab quality (Manager) harus mengetahui alasannya.
[8 empty] | Lebih dari 30% |  | Perlu perbaikan, buat usaha yang dpt mengidentifikasi masalah, sehingga dapat diambil tindakan perbaikan.
*Arahan untuk tindakan*
(1) Reproducibility (AV) > Repeatability (EV)
1. Appraiser sudahkah ditraining dalam handling dan pembacaan measuring equipment
2. Skala pada measuring equipment tidak akurat
(2) Reproducibility (AV) < Repeatability (EV)
1. Measuring equipment perlu diinspeksi atau direpair.
2. Metode set up / position perlu diperbaiki.
SSA-QC/INJ-F009 Rev.00

## MSA ISI 4
GAGE REPEATABILITY & REPRODUCIBILITY STUDY
( Average - Range Method )
QUALITY CONTROL SECTION
DATE |  |  | 2023-12-19 | [5 empty] | APPROVED |  | CONFIRMED |  | PREVERED
PART NAME |  |  | Hose Reserve Tank
GAGE NAME |  |  | Caliper
GAGE NO. REG |  |  | B17092619
RESOLUSI GAGE |  |  | 0-150 / 0.01 mm
PROSES NAME |  |  | Proses Check ID (Iner Diameter)
LSL : | 6.5 | USL : | 7.5 | Tolerance : |  | 0.5 | mm
Appraiser | Trial# | SAMPLE PART | [9 empty] | AVG | AVERAGE
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Kiki | 1 | 7.1 | 7.1 | 7.1 | 7.1 | 7.08 | 7.07 | 7.1 | 7.1 | 7.08 | 7.1 | 7.093 | XA =
| 2 | 7.1 | 7.1 | 7.1 | 7.1 | 7.09 | 7.08 | 7.1 | 7.1 | 7.08 | 7.1 | 7.095 | 7.0923
| 3 | 7.1 | 7.09 | 7.1 | 7.09 | 7.08 | 7.08 | 7.08 | 7.1 | 7.08 | 7.09 | 7.089
1 | Range | 0 | 0.01 | 0 | 0.01 | 0.01 | 0.01 | 0.02 | 0 | 0 | 0.01 | RA = | 0.007
Arjun | 1 | 7.1 | 7.09 | 7.09 | 7.08 | 7.1 | 7.08 | 7.09 | 7.1 | 7.08 | 7.1 | 7.091 | XB =
| 2 | 7.09 | 7.1 | 7.09 | 7.09 | 7.08 | 7.08 | 7.09 | 7.09 | 7.08 | 7.1 | 7.089 | 7.0917
| 3 | 7.1 | 7.1 | 7.1 | 7.09 | 7.1 | 7.09 | 7.08 | 7.1 | 7.09 | 7.1 | 7.095
2 | Range | 0.01 | 0.01 | 0.01 | 0.01 | 0.02 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | RB = | 0.01
M. Hujani | 1 | 7.1 | 7.08 | 7.09 | 7.1 | 7.1 | 7.09 | 7.09 | 7.1 | 7.1 | 7.1 | 7.095 | XC =
| 2 | 7.09 | 7.1 | 7.1 | 7.09 | 7.1 | 7.08 | 7.09 | 7.1 | 7.1 | 7.1 | 7.095 | 7.0947
| 3 | 7.1 | 7.1 | 7.09 | 7.1 | 7.1 | 7.09 | 7.09 | 7.09 | 7.08 | 7.1 | 7.094
3 | Range | 0.01 | 0.02 | 0.01 | 0.01 | 0 | 0.01 | 0 | 0.01 | 0.02 | 0 | RC = | 0.009
AVERAGE READING ( XP) |  | 7.0978 | 7.0956 | 7.0956 | 7.0933 | 7.0922 | 7.0822 | 7.09 | 7.0978 | 7.0856 | 7.0989 | RP = | 0.016667
X DIFF = XMAX - XMIN | [11 empty] | X DIFF = | 0.003
R = ( RA + RB + RC ) / 3 | [11 empty] | R = | 0.0086667
R × D4 = UCLR(Upper Control Limit) |  | SAMPLE PART 4: (D4 = 3.27 for 2 trials and 2.58 for 3 trials); SAMPLE PART 9: D4 =; SAMPLE PART 10: 2.58 | UCLR | 0.02236
Appraiser |  | SAMPLE PART 2: 3; SAMPLE PART 3: persons; SAMPLE PART 5: OPERATOR; SAMPLE PART 7: K2; SAMPLE PART 9: TRIALS | K1 | D4
Trial # |  | SAMPLE PART 2: 3; SAMPLE PART 3: times ( r ); SAMPLE PART 5: 2; SAMPLE PART 7: 0.7071; SAMPLE PART 9: 2 | 0.8862 | 3.27
Sample # |  | SAMPLE PART 2: 10; SAMPLE PART 3: pieces ( n ); SAMPLE PART 5: 3; SAMPLE PART 7: 0.5231; SAMPLE PART 9: 3 | 0.5908 | 2.58
PARTS |  | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
K3 |  | 0.7071 | 0.5231 | 0.4467 | 0.403 | 0.3742 | 0.3534 | 0.3375 | 0.3249 | 0.3146
UCLR represents the limit for individual Range, those ranges that are beyond this limit, identify the cause and correct, repeat those reading using the same operator and parts as originally used, Discard those reading and re-average and re-compile ranges and UCL from the remaining reading.
ANALISYS | REPEATABILITY (EV) | 3: REPRODUCIBILITY (AV); 6: R & R; 9: PART VAREATION |  | TOTAL VAREATION (TV)
| EV=RxK1 | 3: AV=√(XdiffxK2)2-(EV2/nxr); 6: R&R=√EV2+AV2; 9: PV=RpxK3 |  | TV=√R&R2+PV2
| EV= | 0.0051203 | AV= | 0.0012605 |  | R&R= | 0.0052731 |  | PV= | 0.0052433 |  | TV= | 0.0074363
% VARIATION | %EV=100*(EV/TV) | 3: %AV=100*(AV/TV); 6: %R&R=100*(R&R/TV); 9: %PV=100*(PV/TV) |  | NDC=1.41*(PV/R&R)
| %EV= | 68.86% | %AV= | 16.95% |  | %R&R= | 70.91% |  | %PV= | 70.51% |  | NDC= | 1.402
% TOLERANCE | %EV=100(EV/(UCL-LCL)/6) | 3: %AV=100(AV/(UCL-LCL)/6); 6: %R&R=100(R&R/(UCL-LCL)/6)
| %EV= | 2: 6.144%; 3: %AV=; 4: 1.513%; 6: %R&R=; 7: 6.328%
[Instruksi dari orang yang approved/menyetujui] |  | 8: [Referensi]
[8 empty] | Error |  | Interpretasi
[8 empty] | Dibawah 10% |  | Measurement system diterima
[8 empty] | Antara 10 - 30% |  | Kemungkinan dapat diterima, tetapi penanggung jawab quality (Manager) harus mengetahui alasannya.
[8 empty] | Lebih dari 30% |  | Perlu perbaikan, buat usaha yang dpt mengidentifikasi masalah, sehingga dapat diambil tindakan perbaikan.
*Arahan untuk tindakan*
(1) Reproducibility (AV) > Repeatability (EV)
1. Appraiser sudahkah ditraining dalam handling dan pembacaan measuring equipment
2. Skala pada measuring equipment tidak akurat
(2) Reproducibility (AV) < Repeatability (EV)
1. Measuring equipment perlu diinspeksi atau direpair.
2. Metode set up / position perlu diperbaiki.
SSA-QC/INJ-F009 Rev.00